## Slide 1
Measuring systems
Situation in Germany

## Slide 2
Measuring systems
Legal basis form 01.01.2015: Measures and Verification Act
Three categories of devices are defined:
measuring instrument (MG)
sub-assembly (TG)
ancillary device for a measuring instrument (ZE)

## Slide 3
Measures and Verification Act
Section 3
Definitions specific to measuring instruments
No 12:
“measuring instrument” means any device or system of devices with a measurement function which is designed for use in commercial transactions or official dealings or for performing measurements in the public interest
No 18:
“sub-assembly” means a unit designated as such in a statutory instrument as per Section 4(3) which functions independently and constitutes a measuring instrument in combination with the following devices:
with other sub-assemblies with which they are compatible, or
with a measuring instrument with which it is compatible

## Slide 4
Measures and Verification Act
No 20:
“ancillary device for a measuring instrument” means a device connected to a measuring instrument which is not required for the functioning of the latter and which is destined for one of the following applications:
a) for determining additional measurement parameters,
b) for storing or presenting measuring results for the first time for the purpose of using measured values or data relating to the measuring instrument’s electronic control,
c) for regulating payments,
d) for determining the price to be paid for an item purchased or a service in the presence of the parties concerned (direct sales),
e) for processing measuring results for the purpose of transmission to ancillary devices within the meaning of Letters a to d, or
for connection to an interacting interface of the measuring instrument

## Slide 5
Measures and Verification Act
Possible combinations of
measuring instruments (MG)
sub-assemblies (TG)
ancillary devices for a measuring instrument (ZE)

## Slide 6
Measures and Verification Act
measuring instrument (MG) and sub-assembly (TG)
MG
TG
MG
+
MG
TG
+
MG
TG
TG
+
All sub-assemblies (TG) are defined in the Measures and Verification Ordinance:
conversion devices for measuring instruments used to determine measurands of flowing gases
temperature sensor pairs, calculators or flow sensors for heat meters or for cold meters

## Slide 7
Measures and Verification Act
measuring instrument (MG) and ancillary device for a measuring instrument (ZE)
MG
ZE
+
No 20 a)
MG
ZE
+
No 20 e)
ZE
+
No 20 a)
MG
ZE
+

## Slide 8
Measures and Verification Act
measuring instrument (MG) and ancillary device for a measuring instrument (ZE)
MG
ZE
+
No 20 a)
MG
+
?
MG
+
MG
?

## Slide 9
Verification
Measuring instruments (MG), sub-assemblies (TG) and ancillary devices for a measuring instrument (ZE) could be verified separate (different verification periods are possible).
For complex measuring instruments (MG), sub-assemblies (TG) or ancillary devices for a measuring instrument (ZE) the verification may consist of one or more preliminary tests and a final test. (MessEV Section 37 (1))

## Slide 10
MG
Example: static speed measuring instrument
camera + data processing unit
sensors
+
verification mark
verification in a single procedure

## Slide 11
MG
Example: static speed measuring instrument
camera + data processing unit
+
location A
+
location B
+
location C
or
or
verification by preliminary testing
and a final test
preliminary testing mark

## Slide 12
Physikalisch-Technische Bundesanstalt
Braunschweig und Berlin
Bundesallee 100
38116 Braunschweig
Dr.-Ing. Sascha Mäuselein
Arbeitsgruppe „Gesetzliches Messwesen“
Telefon: 0531 592-8310
E-Mail: sascha.maeuselein@ptb.de
www.ptb.de