## Slide 1: Introduction to OIML Recommendations and OIML Certificate Systems
COOMET Seminar
OIML Certification System (OIML-CS)
Moscow, Russian Federation, May 2018
Paul Dixon BIML Assistant Director

## Slide 2: OIML Strategy (OIML B 15:2011)
Develop standards and related documents for use by legal metrology authorities and industry
Provide mutual recognition systems which reduce trade barriers and costs in a global market
Represent the interests of the legal metrology community within international organizations and forums concerned with metrology, standardization, testing, certification and accreditation
Promote and facilitate the exchange of knowledge and competencies within the legal metrology community
Raise awareness of the contribution that a sound legal metrology infrastructure can make to a modern economy.

## Slide 3: OIML Recommendations (OIML-R)
OIML-R are a type of OIML publication
OIML Recommendations:
  model regulations
  establish metrological characteristics
  specify methods and equipment for checking their conformity
Currently 104 OIML Recommendations
Each recommendation applies to a category of measuring instrument (including families of instruments, modules, or families of modules)
Available to freely download from www.oiml.org

## Slide 4: OIML Recommendations
„Publications“
www.oiml.org

## Slide 5: Parts of an OIML Recommendation
Recommendations specify:
  the metrological and technical requirements (Part 1),
  the test procedures (Part 2), and
  the OIML test report format (Part 3) - sometimes also known as type evaluation report format
A Recommendation can only be part of an OIML Certificate System if it has all three parts

## Slide 6: Parts of an OIML Recommendation
Not all OIML Recommendations have three parts (yet!)
In the past, not all parts were developed simultaneously
Some Recommendations may not be applicable for OIML Certificates, e.g.
  R 71 Fixed storage tanks
  R 22 International alcoholometric tables
  R 147 Standard blackbody radiators for the temperature range from -50 °C to 2500 °C
In some cases the three parts are included in a single “part”

## Slide 7: OIML Strategy (OIML B 15:2011)
Develop standards and related documents for use by legal metrology authorities and industry
Provide mutual recognition systems which reduce trade barriers and costs in a global market
Represent the interests of the legal metrology community within international organizations and forums concerned with metrology, standardization, testing, certification and accreditation
Promote and facilitate the exchange of knowledge and competencies within the legal metrology community
Raise awareness of the contribution that a sound legal metrology infrastructure can make to a modern economy.

## Slide 8: Objectives
  The [OIML Certificate] Systems aim to facilitate, accelerate, and harmonize the work of national and regional bodies that approve types of measuring instruments subject to legal control.
  Instrument manufacturers who are required to obtain type approval may benefit from the System, which provides evidence that their instrument type complies with the requirements of the relevant OIML Recommendations.
8

## Slide 9: Benefits
  National Authorities and participants:
Facilitates compliance with WTO TBT Agreement requirements
Provides exchange of information, experience and good practices
Allows other countries' facilities and competence to be relied on (!)
Business:
Helps to avoid duplication of tests for type approval in different countries

## Slide 10: OIML Basic Certificate System
Established in 1991
Voluntary system
Over 2500 certificates registered since its establishment
Over 500 applicants
32 Issuing Authorities registered in the OIML, 27 of which have issued certificates
40 OIML Recommendations covered by the system
Basic Document: OIML B 3:2011 “OIML Basic Certificate System for OIML Type Evaluation of Measuring Instruments”

## Slide 11: Categories and Issuing Authorities
11
All 40 categories were covered by at least one IA

## Slide 12: OIML Mutual Acceptance Arrangement
Voluntary system started in 2005
For identified categories, Declarations of Mutual Confidence (DoMC)
  Based on the evaluation of the Test Laboratories of Issuing Participants (ISO/IEC 17025)
  A group of participants declare that they will accept and utilize evaluation reports and test results issued by the evaluated Issuing Participants
Certificates are recorded and published on the OIML website with mention they are covered by a DoMC

## Slide 13: OIML Mutual Acceptance Arrangement
Was set up to provide additional tools to increase existing mutual confidence through the OIML Certificate System
Still a voluntary System
To help Member States that do not have their own test facilities
To increase confidence by setting up an evaluation of Testing Laboratories
To take into account additional national requirements

## Slide 14: OIML Mutual Acceptance Arrangement
Coverage
R 49: Water meters
R 60: Metrological regulation for load cells
R 76: Non-automatic weighing instruments
Wish to have more measuring instruments covered!

## Slide 15: OIML Mutual Acceptance Arrangement
 | Water meters R 49 | Load cells R 60 | NAWI R 76
Total Participants | 7 | 19 | 20
Issuing Participants | 3 | 7 | 10
Wish to have a wider use!

## Slide 16: Participants in the OIML MAA
Issuing
Utilizing

## Slide 17: New OIML Certification System
MAA

## Slide 18
Paul DIXON
BIML Assistant Director
paul.dixon@oiml.org
www.oiml.org