## Slide 1: How to become an Issuing Authority, Utilizer or Asscociate?
COOMET Seminar
OIML Certification System (OIML-CS)
Moscow, Russian Federation, May 2018
Peter Ulbig COOMET Vice President

## Slide 2: Reference
But not so easy to understand!!!

## Slide 3: Definitions
OIML B18: section 3.23
National responsible body
organization within an OIML Member State or Corresponding Member that does not conduct type evaluation but that is responsible for the metrological control of measuring instruments and/or modules
National
Responsible
Body
OIML D1: „Central Metrological Authority“

## Slide 4: Definitions
OIML B18: section 3.22
National Issuing Authority
Certifying body or person in an OIML Member State or Corresponding Member that is responsible for national type approval and that issues national/regional Type Approval Certificates for specific categories of measuring instruments or modules on the basis of examination and testing under its own
control
National
Issuing
Authority

## Slide 5: Definitions
OIML B18: section 3.26 OIML Issuing Authority (IA)
conformity assessment body from an OIML Member State issuing OIML Certificates and associated OIML type evaluation reports in accordance with Scheme A or Scheme B
OIML
Issuing
Authority

## Slide 6: Definitions
OIML B18: section 3.43
Utilizer
national issuing authority or national responsible body from an OIML Member State that has signed the Declaration, indicating the terms of acceptance of OIML Certificates and/or OIML type evaluation reports issued under Scheme A or Scheme B
Utilizer

## Slide 7: Definitions
OIML B18: section 3.4
Associate
national issuing authority or national responsible body
from an OIML Corresponding Member
that has signed the Declaration
indicating the terms of acceptance of OIML Certificates
and/or OIML type evaluation reports issued under Scheme A or Scheme B
Associate

## Slide 8: Overview about the system:
National
Responsible
Body
National
Issuing
Authority
Issuing
OIML-CS certificates
OIML
Issuing
Authority
Acceptance
of OIML-CS certificates
Associate
Utilizer

## Slide 9: Example of China:
National
Responsible
Body
National
Issuing
Authority
Issuing
OIML-CS certificates
OIML
Issuing
Authority
Acceptance
of OIML-CS certificates
leading to
Chinese
certificates
Utilizer
Manufacturer with OIML certificate
Manufacturer without OIML certificate

## Slide 10: Example of Germany:
National
Responsible
Body
National
Issuing
Authority
Issuing
OIML-CS certificates
OIML
Issuing
Authority
Acceptance
of OIML-CS certificates
leading to
German or
European
certificates
Utilizer

## Slide 11: Example of ?:
National
Responsible
Body
National
Issuing
Authority
Issuing
OIML-CS
and national certificates
OIML
Issuing
Authority
General
acceptance
of OIML-CS certificates
Utilizer
Manufacturer with OIML certificate
Manufacturer without OIML certificate

## Slide 12: How to become an Utilizer?
OIML B18:
5 Participation in the OIML-CS
5.1 Membership
5.1.2 The CIML Member in a given Member State may designate one or more Utilizers in that
State per category of measuring instrument.

## Slide 13: How to become an Utilizer?
Utilizer
CIML
member
National
Responsible
Body
Executive
Secretary

## Slide 14: How to become an Utilizer*?
*the same for associates

## Slide 15: How to become an Utilizer?

## Slide 16: How to become an Utilizer?

## Slide 17: How to become an Utilizer?

## Slide 18: How to become an Associate?
OIML B18:
5 Participation in the OIML-CS
5.1 Membership
5.1.3 The OIML Corresponding Member Representative may designate one or more Associates in
that country per category of measuring instrument.

## Slide 19: How to become an Associate?
OIML corresponding
Member representative
National
Responsible
Body
Executive
Secretary
Associate

## Slide 20: How to become an Issuing Authority?
OIML B18:
5 Participation in the OIML-CS
5.1 Membership
5.1.1 The CIML Member in a given Member State may put forward to the Management Committee one or more OIML Issuing Authorities in that State per category of measuring instruments for its acceptance under Scheme A or Scheme B.

## Slide 21: How to become an Issuing Authority?
CIML
Member
National
Responsible
Body
Executive
Secretary
OIML
Issuing
Authority
Management
Committee

## Slide 22: How to become an Issuing Authority?
OIML
Issuing
Authority
Certification body (ISO/IEC 17065)
Test lab(s) (ISO/IEC 17025)
  For participation in Scheme B, it is sufficient to demonstrate compliance on the basis of “self-declaration”.
  For participation in Scheme A, compliance is demonstrated on the basis of accreditation or peer assessment.

## Slide 23
Peter Ulbig
COOMET Vice President
peter.ulbig@ptb.de
www.oiml.org