## Slide 1: Use of ‘old’ data
COOMET Seminar
OIML Certification System (OIML-CS)
Moscow, Russian Federation, May 2018
Cock Oosterman OIML-CS Management Committee Chairperson

## Slide 2: Transitions

## Slide 3: Transition arrangements
Transition arrangements are described in PD-07. However four observations have been made that need attentions:
Annex to “old” certificates
Evaluation to the latest revision
Requirements for “old data” under B
The use of “old data” under A

## Slide 4: Observation PD-07:4
No revisions shall be issued for existing Basic and MAA certificates.

## Slide 5
2018
2005
1992
Revision of existing Basic and MAA certificates
Revision Basic certificate
Revision MAA certificate
NO
MAA
Scheme A
Basic
Scheme B

## Slide 6: Existing Basic and MAA certificates
PD-07, chapter 4:
  4.1 Registered Basic and MAA certificates remain valid.
  4.2 Utilizers and Associates may accept on voluntary basis.
  4.3 No new Basic and MAA certificates may be issued.
  4.4 Corrections of errors and name changes by using an annex (under the current system).

## Slide 7
2018
2005
1992
MAA
Scheme A
Scheme B
Basic
Corrections on existing Basic and MAA certificates
Correct Basic certificate
Correct MAA certificate
Annex to the certificate

## Slide 8: Content of the Annex
PD-07:4.4 The annex is issued in the following instances:
a) to correct an error by the applicant or the Issuing Authority/Participant;
b) When the ownership of the Certificate is transferred to a new applicant.

## Slide 9: Content
Reference to the existing certificate
The name and address of the IA that issue the annex;
Date of issue;
OIML CS-Logo;
PD-07:4.4 Identification of the name change and/or the correction of the error.
No changes the technical or metrological characteristics of the measuring instrument/module are allowed (PD-07:4.5).

## Slide 10: Observation PD-07:5.1.2 &6.1.2 clause b
National/Regional legislative requirements may not always refer to the latest revision of the OIML Recommendation.

## Slide 11
2018
2005
1992
OIML test report
5.1.2 &6.1.2 b) the testing that was performed
is equivalent to the current requirements
Revision of the OIML Recommendation
MAA
Scheme A
Scheme B
Basic

## Slide 12: Latest requirements
To remain in compliance with national or regional requirements, the Evaluation/test Report and Certificate may not be upgraded to the latest revision of the OIML Recommendation

## Slide 13: Observation PD-07:5.2.1
Stronger requirements are set for the use of “old” data to be used under Scheme B than for the data established under Scheme B.

## Slide 14: Old data for Scheme B certificates
Self-declaration is sufficient for the participation of an IA and TL to issue a Scheme B Certificate. No accreditation or peer assessment is required
According PD-07:5.2.1 An applicant may apply to an OIML Issuing Authority, whose scope listed in the Declaration includes the applicable category of measuring instrument, to use an existing OIML Basic Certificate and its corresponding OIML type evaluation report for the issuing of a Scheme B OIML Certificate and OIML type evaluation report…

## Slide 15
PD-07:5.2.1 (b) requires that “At the time that the original OIML type evaluation took place the Test Laboratory was accredited/peer assessed to ISO/IEC 17025 [12], with the scope of accreditation/peer assessment in both cases covering the category of measuring instrument and the relevant OIML Recommendation.”

## Slide 16
2018
2005
1992
Upgrading from Basic to Scheme B
OIML Evaluation\test report
MAA
Scheme A
Basic
Scheme B
5.2.1

## Slide 17: Clause 6.2.1
“OIML Basic Certificates and OIML type evaluation reports cannot be used to issue an OIML Certificate under Scheme A.”

## Slide 18: Backdoor
5.2.1 An applicant may apply to an OIML Issuing Authority, …, to use an existing OIML Basic Certificate and its corresponding OIML type evaluation report for the issuing of a Scheme B OIML Certificate and OIML type evaluation report and
7.2.1 Where a category of measuring instrument and the relevant OIML Recommendation is in Scheme A under the OIML-CS, an applicant may apply to an OIML Issuing Authority, …, to use an existing OIML Certificate under Scheme B to issue a Scheme A Certificate

## Slide 19
2018
2005
1992
Upgrading from Basic to Scheme A
OIML Evaluation\test report
MAA
Scheme A
Basic
Scheme B
5.2.1
7.2.1
6.2.1
NO

## Slide 20: Observation PD-07:6.2.1
During the CIML meeting in Colombia 2017 there is agreed to reconsider the use of old data for the issue if Evaluation reports and Certificates under Scheme A.

## Slide 21: Review R51
From 2005 approx. 8 Automatic Weighing instruments R51 are certified per year
No MAA system was in place and only basic certificates could be issues
Instruments are still placed on the market as the live time of these instruments can be significant longer than non-automatic weighing instruments
A number of issuing authorities issued these certificates under accreditation

## Slide 22: Examples
R49 Water meters
  Up to 2017, 125 instruments are tested (test reports) under Basic system, 6 under MAA. This means that with a revision of the Recommendation, all 125 shall be retested.
R137 Gas meters (2012)
  Up to 2017, 25 instruments are tested (test reports) under the Basic system. No MAA system was available. These instruments have to be retested for a Scheme A certificate (Approx. 1 MEuro).

## Slide 23
2018
2005
1992
Proposal for Upgrading Basic data to Scheme A
OIML Evaluation\test report
MAA
Scheme A
Basic
Scheme B
5.2.1
7.2.1
Committed to accept!
Conditions to accept!
Committed to accept!

## Slide 24: Conclusion at the MC meeting March 2018
Test data obtained before 1/1/18 may be used by the Issuing authority (under conditions) for issuing an OIML Type evaluation report and OIML certificate under scheme A.

## Slide 25
Cock Oosterman
OIML-CS Management Committee Chairperson
cock.oosterman@oiml.org www.oiml.org