## Slide 1
Determination of verification and calibration intervals of measuring instruments
Ms. Elina González Labrada
COOMET member: Cuba
Servicio Nacional de Metrología

## Slide 2
Decree Law No. 183 of the Metrology of February 1998 establishes as a metrological control model approval and verification as legal actions that are executed by the Service National Metrology (SENAMET), integrated by the Metrology laboratories of the National Standardization Office (ONN) and other laboratories authorized by the Office itself.
The document that aims to establish the measuring instruments or systems that are Subject to the verification and approval of the model according to its fields of application is the general provision DG-01.

## Slide 3
This document has been prepared based on the priorities, needs and possibilities of the country and taking into account the provisions of NC OIML D12: 1995 “Fields of application of measuring instruments subject to verification” and NC OIML D19: 1994 “Evaluation and Approval of Model”.
The periods of validity of the verifications are established in this General Provision based on the use of the measuring instruments, their operating regime and their technical status.
When a measuring instrument is still in force, its verification is subject to repair or adjustment, it loses its validity and must undergo the verification process again.

## Slide 4
The verification performed on the measuring instruments does not exclude the particular interest of the users in the execution of periodic calibrations on these.
The instruments that are an inseparable part of the measurement systems or processes, and therefore cannot be verified individually, their verification will be carried out within the set that forms the measurement system or process, being considered verified if the system or process is verified.

## Slide 7: The calibration and recalibration periods are established by the owners of the measuring instruments using as reference the OIML document D 10: 2007.